**EVERYTHING IN YELLOW NEEDS A NETWORK LINE(s)**

**100 Building – English**

* NEED DATA LINE for camera locations 347, 1, 2, 3, 4, 5

**200 Building – IS Building**

* Replace camera 13 with a 360 camera

**300 Building – Art**

* NEED DATA LINE to camera 18, 19, 20, 21

**400 Building – Auto Technology**

* NEED DATA LINE to camera 22, 23, 24, 25, and 26

**500 Building – Gym**

Lower Level

* NEED DATA LINE to camera 28

Upper Level

* NEED DATA LINE to camera 29, 30, 31, 32, 33

**600 Building – Student Services**

First floor

* NEED DATA LINE to camera 34, 35, 36, 37, 38, 39, 40

Second Floor

* NEED DATA LINE to camera 41, 42, 43, 44, 45, 46, 47

**700 Building – Fine Arts**

* NEED DATA LINE to camera 48, 49, 50, 51, 52, 53, 54, 55, 56

**800 Building – Something**

* NEED DATA LINE to camera 57 and 58

**900 Building – Admin**

* NEED DATA LINE to camera 59 and 60

**1000 Building – Student Union**

* Add dome camera at exterior door 4 – (cable already exists)
* Add dome camera at exterior 5 – (cable already exists)
* Add dome camera at East Hall outside meeting room – (cable already exists)
* Add dome camera South Lounge area – (cable already exists)
* Add dome camera West door 3 – (cable already exists)
* Add dome camera at Lunch Cashier - NEED DATA LINE
* NEED DATA LINE for camera 61, 62, 73, 68, 67, 65, 64, 63, 66, 70

**1100 Building – West Dorms**

* Add dome camera in hall outside 302 - (cable already exists)
* Add- Police need 2 camera with mic setup for new interrogation room

**1200 Building – Facilities Management**

* NEED DATA LINE to cameras 120, 117, 118, 119, 116, 115, and 114

**1300 Building – East Dorms**

First Floor

* Add dome camera exterior by front door #1 - (cable already exists)
* Add 360 camera in room 101 – Computer Lab - (cable already exists)

Second Floor

* Add dome camera East end of bridge – NEED DATA LINE
* Add dome camera in hall by room 212 looking North – NEED DATA LINE

**1400 Building – AG**

* Add 360 camera to South entry – NEED DATA LINE
* Add 360 camera at hallway - NEED DATA LINE
* Add dome camera to West entry - NEED DATA LINE
* Add 360 camera with a pendent mount in back viewing Area above steps - NEED DATA LINE to box with pipe

**1500 Building – Math, Science, and Nursing**

First Floor

* NEED DATA LINE and wall mount box for camera 159
* NEED DATA LINE and wall mount box for camera 151

Second Floor

* NEED DATA LINE for camera 174
* Add dome camera in North stairs - (cable already exists)
* Add dome camera in hall outside room 243 - (cable already exists)

**1600 Building – Educare**

* NEED DATA LINE for camera 175, 176, 177, 178, 179, 180, 181, 182, 183, 184, 185, 186, 187, 188

**1700 Building – Maintenance Building – Wall rack was found for this New Com Closet**

* NEED DATA LINE to camera 189 and 190

**1800 Building – Cummins Dorms**

First Floor

* NEED DATA LINE for camera 196

Second floor

* Add dome camera on West end of Bridge – NEED DATA LINE
* NEED DATA LINE for camera 205 with a wall mount box
* Add dome camera in Laundry room - (cable already exists)

**1900 Building – Champion Training Center**

* NEED DATA LINE to cameras 218, 217, 219, and 220

**2000 Building – Welcome Center**

Basement

* NEED DATA LINE to cam223
* Remove camera 222 and don’t cable

First Floor

* NEED DATA LINE in the math hall for 234, 235, 238
* NEED DATA LINE for camera 229
* NEED DATA LINE for camera 228

Second Floor

* Remove camera 246 and 240

**2610 Building – Fire Station**

* Add a dome camera front entry - (cable already exists – E28)
* Add exterior dome camera by South drive up door - (cable already exists)
* Add multi-sensor west wall of drive bay in a wall mount – NEED DATA LINE
* Add dome camera to kitchen looking at exterior door – NEED DATA LINE
* Add 360 camera in hallway inside of north vesicle – NEED DATA LINE

**Service Center – Rock Road, Wichita Ks**

* Add 360 camera in waiting area – NEED DATA LINE
* Add dome camera in storage/break room – NEED DATA LINE
* Add dome camera in hall by Restrooms looking at backdoor – NEED DATA LINE

**9100 Building – Andover, KS**

* NEED DATA LINE at camera 331, 332, 333, 334, 336, 337, and 338

**5000 Building – Andover, KS**

First Floor

* NEED DATA LINE at camera 248, 250, 257, 274, 275, 279, 282, 283, 293, 298, 297
* Add dome camera in bookstore - (cable already exists)
* Add dome camera in bookstore storage - (cable already exists)
* Add dome camera outside deployment center wall mount - (cable already exists)
* Add exterior bullet camera at North East door of Student Union - (cable already exists)
* Add dome camera South wall of student union - (cable already exists)
* Add 2nd dome camera next to camera 278 - (cable already exists)

Second Floor

* NEED DATA LINE for camera 309, 313, 314, 315, 316, and 317
* Replace camera 303 with a 360 camera
* Replace camera 310 with a 360 camera

**Stadium**

First Floor

* Add 2 – 360 cameras to underside of sofete by Elevator and security door – NEED DATA LINE

Third Floor

* NEED DATA LINES - Add roof penetration in custodial room, then run pipe for 3 camera locations

1. Add 2 - 8meg Bullit for North and South roof
2. Add panoramic on East Side of roof

North Locker Room

* Add 360 camera on drop pendent in consession stand room – NEED DATA LINE four square box mounted to beam

South Locker Room

* Add 360 camera on drop pendent in consession stand room – NEED DATA LINE four square box mounted to beam